Magnetic Force Generation via Hexapole Electromagnetic Actuators: Hall-Sensor-Based Modeling and Calibration Approach:

Magnetic Force Generation:

mp=3Vμoμ-μoμ+2μoMgBbp

fp=12∇m∙B=3V2μoμ-μoμ+2μo∇B∙B

Position-dependent 6×6×3 dimensionless spatial-distribution tensor Lp:

p=pl

rn=p-pcn ;rn=rn rm=p-pcm;rm=rm

∇rn∙rmrn3rm3=1rn3rm31-3rn∙rmrn2rn+1-3rn∙rmrm2rm=1l51rn3rm31-3rn∙rmrn2rn+1-3rn∙rmrm2rmLp; n,m,⋮=ln,mp

Lpl,e is the position-dependent 6×6×3 dimensionless spaitial-distribution tensor with 18 unknown parameters, i.e., l is an unknown constant and e is an unknown 17×1  vector. Let Lk represent the k-th symmetric 6×6 slice of the tensor L for k∈1,2,3,

Lp; n,m,k=Lxp; n,mLyp; n,mLzp; n,m=L1p; n,mL2p; n,mL3p; n,m=Lkp; n,mk∈1,2,3.

Current-based model:

fk=MgB2lBgI2ITKTLkpl,eKI

Calibration Approach:

- Select Np points in the work space.

pi is the 3×1 position vector for for i=1,2,⋯,Np.

Ij is the 6×1 input current vector for for j=1,2,⋯,NI.

vj is the 6×1 Hall sensor voltage vector for for j=1,2,⋯,Nv, wherein Nv=NI.

fij=fjpi is the 3×1 resulting force vector for for i=1,2,⋯,Np and for j=1,2,⋯,NI.

fijk=MgB2lBgI2IjTKTLkpil,eKIj for i=1,2,⋯,Np and for j=1,2,⋯,NI,

wherein MgB is the theoretical magetization constant associated with the particle, and l, e, BgI, K, are previously obtained flux generation model parameters by calibration.

Voltage-based model:

fk=FgVvTDTLkpl,eDv=vjTFHVTLkpil,eFHVvj

- Cost function (Scenario one):

The k-th element of the vector εij is:

fijk=MgB2lBgI2IjTKTLkpil,eKIj (measurement)

εijkl,e, FHV=fijk-vjTFHVTLkpil,eFHVvj

εijTεijl,e, FHV=k=13fijk-vjTFHVTLkpil,eFHVvj2

Jl,e, FHV=j=1NIi=1NpεijTεij=j=1NIi=1Npk=13fijk-vjTFHVTLkpil,eFHVvj2

∂J∂FHV=-4j=1NIi=1Npk=13fijk-vjTFHVTLkpil,eFHVvjLkpil,eFHVvjvjT

Let ∂J∂FHV=0, can FHV be expressed explicitly in terms of fijk, Lk, and vj?

No, FHV cannot be expressed explicitly in closed form.

- Minimize cost function:

Minimize Jl,e, FHV⟹l, e, FHV (Initial guess: l=ldesign, e=0, and FHV=MgB2∙ldesignBgII6×6) ⟹FgV=65h112 and D=56∙h11FHV